GAS AND WATER REPORT

BY SUPERINTENDENT – MICHAEL BENNETT

June 1, 2020 through June 12, 2020

In the Water Department:

- Changed meters

- Worked on repairs

- Took routine water samples

- Changed daily totalizer chart

- Calculated daily usage

- Took chlorine residuals

- Swept and mopped water plant

- Stout put down new epoxy floor at old water plant

- Lightning hit old tower transducer. B.L. Anderson replaced

- Will be taking Lead & Copper Samples

In the Gas Department:

- Changed meters

- Worked on repairs

- Changed daily high/low charts

- Checked odorizer daily

- Patrolled gas system

- Took odorant readings

- Installed 3 gas services

- Cut off 2 gas services

- Had town border station regulators checked

- Had odorant calculated

- Had U.S.D.I. take cathodic reading in all sections

- Had odorizer filled

- Will have OQ training in Sullivan on tapping/purging & squeeze off plastic tool

In Other Business:

- Mowed grass

- Put down weed killer

- Dug storm sewer Jules St.

- Will be shutting off delinquents

JU L I E CALLS 	62_______                 Gas & Water Work orders  __6_____

Water Work Orders 	  ___7____            	   Odor Calls   __3______

Gas Work Orders 	  __2_____              	   CO Calls     __0______