GAS AND WATER REPORT

BY SUPERINTENDENT – MICHAEL BENNETT

July 11, 2020 through August 11, 2020

In the Water Department:

- Changed meters

- Worked on repairs

- Took routine water samples

- Changed daily totalizer chart

- Calculated daily usage

- Took chlorine residuals

- Swept and mopped water plant

- Results good on lead and copper samples

- Results good on THM and HAA samples

- Maguire Iron installing tank mixer at south tower, then will install tank mixer at north tower and overflow pipe

In the Gas Department:

- Changed meters

- Worked on repairs

- Changed daily high/low charts

- Checked odorizer daily

- Patrolled gas system

- Took odorant readings

- U.S.D.I. Welder repaired underground gas leak at 117 Victor and underground gas leak at 305 W. Williams. Both on threaded couplings.

- Replaced service line on high pressure service at 15566 E. 1200 North Rd.

- Replaced leaking 2” gas valve in alley between Clark St. and Victor St.  All leaks were found during leak survey.

- Will have a gas valve to replace in September on high pressure system

- Installed gas service at 412 Topham

- Installed 3 anodes

- Will have an ICC field audit next week

- Will have a gas service to re-route at 808 N. State

In Other Business:

- Mowed grass and put weed killer down

- Poured sidewalk at W. Williams and Adams St.

- Cut brush at old tower

JU L I E CALLS 			34             Gas & Water Work orders 	16

Water Work Orders 	  	15             Odor Calls   		 	  3

Gas Work Orders 		 4              CO Calls     			  1