GAS AND WATER REPORT

BY SUPERINTENDENT – MICHAEL BENNETT

September 11, 2020 through October 15, 2020

In the Water Department:

- Changed meters

- Worked on repairs

- Took routine water samples

- Changed daily totalizer chart

- Calculated daily usage

- Took chlorine residuals

- Swept and mopped water plant

- Replaced heaters at both towers

- Repaired water leak on service line at 303 Jules

In the Gas Department:

- Changed meters

- Worked on repairs

- Changed daily high/low charts

- Checked odorizer daily

- Patrolled gas system

- Took odorant readings

- Moved a gas service at 1701 Danville St and another at 215 Wisconsin

- Installed a new service at 319 Virginia St

- Repaired a gas riser on Clingan Lane

- Cut off a gas service at 410 Red Store Street; House will be torn down

- Had training over record keeping from U.S.D.I. Engineer Tyler Enloe

In Other Business:

- Mowed grass

- Cut brush around fences

- Shut off delinquent gas and water services, will be shutting off more

- Reading meters now

- Special meeting for gas and water multiple topics

J.U.L.I.E. Calls 		53 		Gas & Water Work orders	 	26

Water Work Orders 		17		Odor Calls   			 	  4

Gas Work Orders 		11		CO Calls     			 	  0